## Slide 1
Quality as an Essential Part of NDCs
LEONEL COLLADO Jottin Michele
National Seismological Centre
AUTONOMOUS UNIVERSITY OF SANTO DOMINGO
Seismic station calibration is an essential process to ensure that the data collected by these stations is accurate and reliable. We will compare the CTBTO calibration and try to keep the quality factor applicable to the local stations.
P5.3-609
We compared by list the different calibration methodology used by the CTBTO and
the local calibration method. Calibration is fundamental to ensure accuracy and reliability of data in seismic monitoring stations.
The CTBTO involves both calibration method manufacturer-provided calibration and on-site calibration, the local calibration method may be challenges in validating the manufacturer's information and conducting regular calibrations.
For the stations of the local network, It is important to address these challenges and work towards implementing standardized calibration procedures in line with the CTBTO's quality control system.
Please do not use this space, a QR code will be automatically overlayed

## Slide 2
Introduction
P5.3-609
Please do not use this space, a QR code will be automatically overlayed
The CTBTO has a strict quality control system for the periodic calibration of the stations. The calibration of a station involves adjusting and verifying its components to ensure accurate recording of seismic movements and precise measurements of the amplitude and frequency of seismic waves. This calibration process needs to be carried out regularly as the components can wear out over time or become misaligned. Additionally, seismic stations may require additional adjustments based on the geological and environmental characteristics of their installation location.
This study aims to standardize the local stations with those of the IMS, allowing for the application of the CTBTO's methodology and findings new civil applications. In the future, if the local network meets the agreed-upon requirements, the NDCs can receive certification, can be consulted for specific regional studies and helping to reduce gaps in certain areas and detect smaller magnitude events. Furthermore, this will contribute to improving the quality of generated seismic data.

## Slide 3
Objectives
P5.3-609
Please do not use this space, a QR code will be automatically overlayed
Develop and implement standardized calibration procedures for local seismic stations in line with the CTBTO's quality control system.
Meet the requirements set by the CTBTO for seismic station certification.
Enhance the integration of local seismic station data into the CTBTO's network and make it accessible for specific regional studies and facilitating collaborative research efforts within the CTBTO community.
Collaborate closely with NDCs to ensure a smooth transition and implementation of the standardized calibration procedures.
General Objective: To propose a new civil application of the CTBTO that enables the improvement of integration of National Data Centers (NDCs) through enhancements in the quality of seismic data.

## Slide 4
Methods/Data
P5.3-609
Please do not use this space, a QR code will be automatically overlayed
CTBTO calibration method | Local calibration method
Calibration provider by manufacturer. To perform the initial calibration to verify if the measured system response is within tolerances of the manufacturer supplied data. Self-noise test On-Site Calibration (for arrays). Full frequency response calibration (at least 4 times per year). | Calibration provider by manufacturer In most of cases, the manufacturer's information is not validated. Rarely send calibration pulse.

## Slide 5
Results
P5.3-609
Please do not use this space, a QR code will be automatically overlayed
The CTBTO employs a calibration method for its stations, which involves both manufacturer-provided calibration and on-site calibration. However, the local calibration method may differ from the CTBTO's approach, and there may be challenges in validating the manufacturer's information and conducting regular calibrations.
Due to limited resources or technical expertise, the local network may face challenges in independently validating the accuracy of the manufacturer's calibration information.
This can lead to uncertainties in the calibration process and potential discrepancies between the expected and actual performance of the station.

## Slide 6
Conclusion
P5.3-609
Please do not use this space, a QR code will be automatically overlayed
It is important for local seismic stations to address these challenges and work towards implementing standardized calibration procedures in line with the CTBTO's quality control system. By collaborating closely with the CTBTO and following their guidelines, the integration of local seismic data into the CTBTO's network can be improved, enhancing the overall quality of seismic data and enabling its use for various civil applications.
By achieving these objectives and implementing the proposed actions, the integration of NDCs will be enhanced, leading to improved seismic data quality and enabling the CTBTO to contribute to various civil applications.

## Slide 7
References
P5.3-609
Please do not use this space, a QR code will be automatically overlayed
CTBT/WGB/TL-11,17/15/Rev.7. (December 16, 2020). Operational Manual for Seismological Monitoring and the International Exchange of Seismological Data.
CTBT/WGB/TL-1/33/Rev.2. (February18 2002). Command and Control of IMS Stations: Procedures for Issuing Commands.
Command Structure for IMS Stations, CTBT/PTS/INF.280, 28 April 2000.
CTBT/WGB/TL-11,17/15/Rev.7 Page 45 Procedures for international monitoring System station certification and revalidation.