## Slide 1
Review of the On-Site Inspection Equipment List and Recommendations for Possible Upgrades
Umar Afegbua Kadiri
Centre for Geodesy and Geodynamics, National Space Research and Development Agency, Toro, Bauchi State, Nigeria
Because technologies involving some of the methods addressed in CTBT/PTS/INF.1573, which include all OSI techniques identified under Part II of the Protocol to the CTBT, except drilling, have evolved over time, the Provisional Technical Secretariat of the CTBTO may have found it exigent to refine the permitted equipment for OSI in order to quickly adjust the identified items on the list that have become obsolete or will become obsolete in the near future.
P3.3-214
The review was conducted using all available documents, including:
the Treaty
the draft OSI Operational Manual
Conference of the States Parties’ Review of the Operation of the Chemical Weapons Convention (hereinafter “the Second Review Conference”) in paragraph 9.147 of its report (RC-2/4, dated 18 April 2008),
online discussions with field experts,
OSI Workshops,
etc.
some geophysical techniques (electrical conductivity, passive and active seismic surveys) and over-flight, have been reviewed. The need for review is because the time window for obtaining some of the conclusive evidence for a Treaty violation is narrow, that is from observables that diminish over time (e.g. aftershocks, Radionuclide and noble gas; the current rapid technological modernization and associated seamless implementation of field activities; as well as the need to cut the huge cost of OSI. Some recommendations for likely inclusion into supplementary OSI document are:
Replacement of separated seismic sensors and digitizers with stand-alone portable digital sensors with inbuilt digitizers
Use of customized drones to replace or complement operations of chartered aircrafts during over-flights
Collaborations with relevant Agencies to apply satellite imagery in narrowing down Inspection Area (IA), as it can measure, identify and track human activity.
Full-channel resistivity meter, which can provide soil resistivity readings at the push of a button and features, as well as direct read-out of resistance without the need to select ranges or adjust dials; and conductivity meter, which obtains electrical conductivity measurements, total dissolved solid (TDS), pH, percent NaCl, resistance, and temperature measurements all at the same time, etc.
Some equipment hitherto approved for the conduct of OSI that are gradually being faced out in the advent of current technological innovations, have been reviewed and recommendations provided for improvising, without compromising specifications in the OSI Operational documentation.
It is expected that the recommendations contained herein, would go along way towards assisting the Provisional Technical Secretariat of the CTBTO in its efforts to refine the permitted equipment for OSI in order to quickly adjust the identified items on the list that may have become obsolete.
Please do not use this space, a QR code will be automatically overlayed

## Slide 2
Introduction
P3.3-214
Please do not use this space, a QR code will be automatically overlayed
The state of the art technologies of OSI equipment is critical to a successful verification
The on-site inspection (OSI) is the final component of the Comprehensive Nuclear-Test-Ban-Treaty (CTBT) verification regime that will help determine whether a nuclear explosion occurred; facts may also be gathered to determine who was responsible for the Treaty violation
Approved Techniques for OSI include ground based, airborne, and laboratory elements. List of approved inspection equipment with operational requirements and technical specifications were also approved. The technologies include Position finding, visual observation, video and still photography and multispectral imaging, including infrared measurement, Radionuclide and noble gas techniques, Geophysical techniques and Data and information management
Because technologies involving some of the methods addressed in CTBT/PTS/INF.1573, which include all OSI techniques identified under Part II of the Protocol to the CTBT, except drilling, have evolved over time, the Provisional Technical Secretariat of the CTBTO may have found it exigent to refine the permitted equipment for OSI in order to quickly adjust the identified items on the list that have become obsolete or will become obsolete in the near future.

## Slide 3
Objectives
Please do not use this space, a QR code will be automatically overlayed
P3.3-214
This work attempted to review some equipment that may have been obsolete now or may be obsolete in the near future, without compromising specification in the OSI Operational documentation.
To assist the Provisional Technical Secretariat of the CTBTO in its consideration and efforts to refine the permitted equipment for OSI in order to quickly adjust the identified items on the list that may have become obsolete.

## Slide 4
Methods/Data
Please do not use this space, a QR code will be automatically overlayed
P3.3-214
The review was conducted using all available documents, including:
the Treaty
the draft OSI Operational Manual
Conference of the States Parties’ Review of the Operation of the Chemical Weapons Convention (hereinafter “the Second Review Conference”) in paragraph 9.147 of its report (RC-2/4, dated 18 April 2008),
online discussions with field experts,
OSI Workshops,
etc.

## Slide 5
Results
Please do not use this space, a QR code will be automatically overlayed
P3.3-214
some geophysical techniques (electrical conductivity, passive and active seismic surveys) and over-flight, have been reviewed. The need for review is because the time window for obtaining some of the conclusive evidence for a Treaty violation is narrow, that is from observables that diminish over time (e.g. aftershocks, Radionuclide and noble gas; the current rapid technological modernization and associated seamless implementation of field activities; as well as the need to cut the huge cost of OSI. Some recommendations for likely inclusion into supplementary OSI document are:
Replacement of separated seismic sensors and digitizers with stand-alone portable digital sensors with inbuilt digitizers
Use of customized drones to replace or complement operations of chartered aircrafts during over-flights
Collaborations with relevant Agencies to apply satellite imagery in narrowing down Inspection Area (IA), as it can measure, identify and track human activity.
Full-channel resistivity meter, which can provide soil resistivity readings at the push of a button and features, as well as direct read-out of resistance without the need to select ranges or adjust dials; and conductivity meter, which obtains electrical conductivity measurements, total dissolved solid (TDS), pH, percent NaCl, resistance, and temperature measurements all at the same time, etc.

## Slide 6
Conclusion
Please do not use this space, a QR code will be automatically overlayed
P3.3-214
Some equipment hitherto approved for the conduct of OSI that are gradually being faced out in the advent of current technological innovations, have been reviewed and recommendations provided for improvising, without compromising specifications in the OSI Operational documentation.
It is expected that the recommendations contained herein, would go along way towards assisting the Provisional Technical Secretariat of the CTBTO in its consideration and efforts to refine the permitted equipment for OSI in order to quickly adjust the identified items on the list that may have become obsolete.

## Slide 7
References
Please do not use this space, a QR code will be automatically overlayed
P3.3-214
The Comprehensive Nuclear-Test-Ban Treaty and its Protocol
Model Text of the Draft OSI Operational Manual (CTBT/WGB/TL-18/64, 4 July 2019)
First Comprehensive draft list of equipment for use during OSI (CTBT/PTS/INF.1573, 2021)
On-site Inspection Equipment: Operational Requirements, Performance and Technical specifications for Visual, Sampling, Communications, Health and Safety and Support Equipment Items – Addendum (CTBT-PTS-INF.183.Add.1, 11 August 1999)
Conference of the States Parties’ Review of the Operation of the Chemical Weapons Convention (hereinafter “the Second Review Conference”) in paragraph 9.147 of its report (RC-2/4, dated 18 April 2008),
Obligating Authority for OSI Technical Equipment (CTBT-PTS-INF.328, 25 August 2000)
On Site Inspection Equipment: Initial Function and Operational Requirements and Technical Specifications for Items related to Activities undertaken during Additional Overflights and Techniques Pursuant to Continuation Period (CTBT-PTS-INF.366, 11 January 2001)
Reports of OSI Workshop
Report of On-Site Inspection Workshop 23: Further Development of the OSI Equipment List (CTBT/WS/OSI-23/1, 20 February 2017)