## Slide 1
P3.2-537
Development of a continuous field xenon detection system
Christine Johnson, Jacob Inman, James Knox, Justin Lowrey, Michael Mayer, Rose Perea, Franco Spadoni
Pacific Northwest National Laboratory, Richland, WA USA
Develop fieldable continuous flow whole-air detector systems utilizing NaI(Tl)
Optimize detector design to maximize 133Xe detectability
Develop a method for automated gas collection and switching between multiple sampling locations
The Goal…
Manual, Point-Measurements
Fieldable, Continuous
PNNL-SA-186145