## Slide 1
P3.2-360
Development and Validation of Coincidence Analysis/Quantification
Software for Gamma-gamma Coincidence Counting
Manish Sharma, Jonathan Burnett
Pacific Northwest National Laboratory
Multidetector Systems: Promising Application in Radionuclide (RN) Monitoring (in IMS)
  Superior detection efficiency ; - Coincidence signatures ; Operationally resilient
RN Stations utilize High-resolution Gamma Spectrometry for particulate radionuclides
  Such as: 140La, 140Ba, 134Cs, 137Cs, etc.
Data analysis/quantification significantly complex
This work:
  A Sophisticated coincidence analysis/quantification software
  Development, optimization, validation of software
Windows
Python (3.7)
Genie-2000
Radionuclide |  |  |  | (%)
 |  | Experiment | Simulated | 
60Co |  | 6.5E-4 | 6.3E-4 | 2.6
88Y |  | 5.6E-4 | 5.6E-4 | 0.3
99Mo |  | 3.7E-4 | 3.7E-4 | 0.8
132Te |  | 3.3E-3 | 3.2E-3 | 1.2
140Ba |  | 4.9E-4 | 4.9E-4 | 0.5
140La |  | 2.6E-4 | 2.6E-4 | 0.3
103Ru |  | 2.7E-5 | 2.8E-5 | 3.2
143Ce |  | 1.1E-3 | 1.1E-3 | 1.2
140La |  | 2.6E-4 | 2.6E-4 | 0.2
42K |  | 6.8E-6 | 6.5E-6 | 4.2
97Zr |  | 1.7E-5 | 1.7E-5 | 0.0
132I |  | 2.2E-4 | 2.2E-4 | 0.2
133I |  | 3.4E-5 | 3.3E-5 | 0.8
131I |  | 4.8E-4 | 4.9E-4 | 1.0
153Sm |  | 7.0E-4 | 7.0E-4 | 0.4
Radionuclide |  |  |  | 
 |  | Experiment | Simulated | 
60Co |  | 6.5E-4 | 6.3E-4 | 2.6
88Y |  | 5.6E-4 | 5.6E-4 | 0.3
99Mo |  | 3.7E-4 | 3.7E-4 | 0.8
132Te |  | 3.3E-3 | 3.2E-3 | 1.2
140Ba |  | 4.9E-4 | 4.9E-4 | 0.5
140La |  | 2.6E-4 | 2.6E-4 | 0.3
103Ru |  | 2.7E-5 | 2.8E-5 | 3.2
143Ce |  | 1.1E-3 | 1.1E-3 | 1.2
140La |  | 2.6E-4 | 2.6E-4 | 0.2
42K |  | 6.8E-6 | 6.5E-6 | 4.2
97Zr |  | 1.7E-5 | 1.7E-5 | 0.0
132I |  | 2.2E-4 | 2.2E-4 | 0.2
133I |  | 3.4E-5 | 3.3E-5 | 0.8
131I |  | 4.8E-4 | 4.9E-4 | 1.0
153Sm |  | 7.0E-4 | 7.0E-4 | 0.4
Experimental Validation of Detection Probabilities
Performance Optimization
GUI of Coincidence Analysis Software