## Slide 1
P3.2-371
Identifying the most sensitive beta-gamma coincidence detector system for radioxenon measurements at CTBT Radionuclide Laboratories
Matthew A. Goodwin1,2, Taylor P. Gill1, Ashley V. Davies3, Richard Britton3, Steven J. Bell4, Patrick H. Regan2,4
1 AWE, Aldermaston, UK; 2 School of Mathematics and Physics, University of Surrey, UK; 3 Preparatory Commission for the CTBTO, Vienna, Austria; 4 National Physical Laboratory (NPL), Teddington, UK
IMS Noble Gas Radionuclide Laboratories can provide more information following a radionuclide event, than was originally identified at the station.
By fine-tuning the measurement process at a laboratory, being more sensitive and more selective, laboratories can identify isotopes that may have not been detectable at the station.
This e-poster shows the progress at GBL15 towards testing a new coincidence detector system using a high-resolution HPGe gamma detector alongside a plastic scintillator gas cell.