## Slide 1
P3.1-333
VEBOS : Design and validation of a wide band optical seismometer
Fabrice LEPOINT* / Daniel FOUQUET / Olivier ROUSSEAU
Commissariat à l’énergie atomique et aux énergies alternatives (CEA)
Some of its characteristics:
  Self-noise below the seismic low noise model (LNM)
  Sensitive parts in vacuum: less sensitive to thermal effects
  No feed-back loop: no noise introduced by the loop
  …
Horizontal sensor
Vertical sensor
Can be seen at SeismoWave stand
Transducer of the sensors:
An integrated interferometer
SnT2023, P3.1-313