## Slide 1
P3.1-646
Microphone Carousel
Marvin Rust, Christoph Kling
Physikalisch-Technische Bundesanstalt, Germany
The Official CTBTO Photostream, CC BY 2.0, via Wikimedia Commons
Physikalisch-Technische Bundesanstalt, CC BY-ND 3.0
The basis for the reliable and comparable measurement of any physical quantity is traceability to the international system of units (SI).
Stimulus: vertical gradient of the ambient pressure
Changing altitude  alternating pressure
Calibration: Frequency range from 0.1 Hz to 5 Hz, uncertainty ≤0.07 dB
EMPIR-project Infra-AUV: Traceability for low-frequency airborne infrasound, underwater acoustics and seismic vibration
This work: Primary calibration method for airborne infrasound