## Slide 1
Using Open Source Data to Make Data Fusion with International Monitoring System Data and to Understand and Correlate Radionuclide Detections at the International Monitoring System Station RN43
M.M. Mounja1, A. Rizzo2, G. Ottaviano2. C.Telloli2
1Mauritania National Authority of Radiation, Safety and Nuclear Security (ARSN), Nouakchott, Mauritania
2ENEA, Italian National Agency for New Technologies, Energy and Sustainable Economic
Development, Bologna, Italy.
The historical analysis of the occurrence of relevant radionuclides at IMS station RN43 over the past ten years showed that the main contributor was Cs-137, causing several level 3 and level 4.
P2.4-775
A descriptive statistical analysis of the Cs-137 occurrence was performed.
Atmospheric Optical Depth data have been used as an indirect measurement of the presence of dust and haze in the atmosphere.
We have noticed some coincidence with the appearance of Cs-137 and augmented aerosol loading on Noaukchott in spring 2007, 2008, 2010 and 2014.
Better understanding of the background of the stations
Measurements around the station could be beneficial
New collaborations
Please do not use this space, a QR code will be automatically overlayed

## Slide 2
Introduction
Place your institution logo here after removing this text box!
P2.4-775
Please do not use this space, a QR code will be automatically overlayed
RN43
Installed in 2003
Certified in 2006

## Slide 3
Objectives
Place your institution logo here after removing this text box!
P2.4-775
Please do not use this space, a QR code will be automatically overlayed
The historical analysis of the occurrence of relevant radionuclides at RN43 over the past ten years showed that the main contributor was Cs-137, causing several level 3 and level 4.
Our objective was to understand better the occurance of Cs137 and possible correlation with atmospheric phenomena

## Slide 4
Methods
Place your institution logo here after removing this text box!
P2.4-775
Please do not use this space, a QR code will be automatically overlayed
We had been working with statistical analysis since 2016 thanks to a collaboration with the department of Statistic at the University of Bologna
A descriptive statistical analysis of the Cs-137 occurrence was performed
Cs easily adheres on light clay particles
The deposition of Cesium in Sahara region has not been completely assessed so the resuspension.
Measurements in sand in North Africa (Baggoura et al., 1998) showed the most activity levels are found near the Mediterranean sea. The Saharan part of the country exhibits the lowest measured levels.

## Slide 5
Results
Place your institution logo here after removing this text box!
P2.4-775
“Analyses and visualizations were produced with the Giovanni online data system, developed and maintained by the NASA GES DISC.
Please do not use this space, a QR code will be automatically overlayed
Chart: Aerosol optical depth in Nouakchott 2008-2013
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
2008 | 0.463 | 0.5065 | 0.5715 | 0.9355 | 0.51467 | 0.6185 | 0.96 | 0.76425 | 0.66533 | 0.603 | 0.3645 | 0.34325
2009 | 0.2694 | 0.337 | 0.5065 | 0.47383 | 0.7228 | 0.68933 | 0.79367 | 0.783 | 1.003 | 0.37417 | 0.25075 | 0.14333
2010 | 0.27333 | 0.2435 | 0.6442 | 0.6066 | 0.764 | 0.67317 | 0.94767 | 0.80283 | 0.6295 | 0.36275 | 0.22325 | 0.26233
2011 | 0.2624 | 0.243 | 0.2772 | 0.64733 | 0.471 | 0.58867 | 0.7044 | 0.6412 | 0.572 | 0.54633 | 0.28467 | 0.308
2012 | 0.3988 | 0.28 | 0.75667 | 0.64967 | 0.74233 | 0.87167 | 0.76267 | 0.60083 | 0.53383 | 0.25 | 0.25875 | 0.188
2013 | 0.5962 | 0.2964 | 0.2044 | 0.4878 | 0.484 | 0.70067 | 0.731 | 0.59717 | 0.4185 | 0.3666 | 0.175

## Slide 6
Conclusion
Place your institution logo here after removing this text box!
P2.4-775
Please do not use this space, a QR code will be automatically overlayed
We have studied some statistical approach to the measurement of Cs137 detected at RN43 IMS radionuclide station located in Nouakchott.
Level 5 and 4 detected by IDC are associated with high values of aerosol loading
Applying control charts could help to highlight deviation from the normal statistic of the measurements
We have noticed seasonability of appearance of Cs-137 during springs
Further studies to investigate correlations will be done in the future, thanks to the collaboration between Mauritania NDC adn Italian NDC

## Slide 7
References [Optional slide Font: Arial Regular Size 20]
Place your institution logo here after removing this text box!
P2.4-775
Please do not use this space, a QR code will be automatically overlayed