## Slide 1
Station Standard Interface (SSI)
Recent Development

## Slide 2
2
SSI – Basic Functionalities
SSI (Standard Station Interface) is a software for data acquisition designed, developed and owned by CTBTO.
> 92% SHI stations
PTS owned
Developed since 2001
Available to all Authorized Users
Reliability
Flexibility
Standardization
Long term maintainability
CD1.1
Authentication
IMS2.0
Compliance
Command & Control

## Slide 3
3
SSI – Basic Functionalities
Basic functionalities: Data acquisition, formatting, signing, buffering and transmission

## Slide 4
4
SSI – Advanced Functionalities
Configuration
Calibration
State-of-Health
Command & Control

## Slide 5
5
SSI Recent Developments
CentOS 7 replacement – Migration to Rocky Linux 8
Bug fixes and improvements in SSI, Configurator and ssiCalibView
  Adapt SSI calibration results format to CAMT formatting
  Improving SSI processes management
  Circuit correction can be viewed in ssiCalibView
  Station DA and TDA fields are updated correctly
  CPU temperature parameter added to Grafana
Increased test coverage (Unit, Robot, User Interface, …)
MB3a calibration
Installation with Kickstart files

## Slide 6
6
SSI future Developments
SSI code refactoring
SSI packaging
SOH from Q330M+
Integrate Calxpy libraries for SSI Calibration Module

## Slide 7
7
SSI workstations Why they matter?
Standardizing interface to a very heterogeneous network of IMS stations
The maintainability, supportability and sustainability of
SSI workstations are key to efficiently support IMS stations
Computer HW
Operating System
SSI
SSI workstation
Hub to concentrate and transmit data coming from all sites (e.g. arrays)
Enables Station Operators in conducting their daily tasks
SSI workstation is an equipment PTS provides to Auxiliary stations
+
+
Enables authentication at data frame level

## Slide 8
8
SSI workstations lifecycle in 2024
No systematic way to keep track of deployed SSI workstations
Challenge for sustainment planning at network level
Hardware specifications and procurement done by IMS
SSI upgrades have been implemented on case-by-case basis
IMS supports Station Operators in SSI workstations installation, configuration and troubleshooting
Once installed, SSI workstations become the responsibility of the Station Operator. IMS actions triggered by:
      Troubleshooting (e.g. data availability issue)
      Station visits (maintenance, upgrade)
      Request for support from Station Operator (delegated calibration)

## Slide 9
9
SSI Survey 2021-2022
Define a standard way to retrieve exhaustive information from any SHI station running SSI
Prepared and conducted with the support of the SSI Version Assessment group IMS/ED, IMS/MFS and IDC/OPS/MFO
Collect, back-up and convert current SSI configuration files
Collect information (OS & SSI versions, available spares, …)

## Slide 10
10
SSI Survey 2021-2022- Outcome (1/2)
93% corrected response rate => Survey data is representative
SSI by far the most used acquisition software on the IMS SHI network (92% of respondents)

## Slide 11
11
SSI Survey 2021-2022- Outcome (2/2)
Over 79% of deployed workstations would require an SSI upgrade
Survey results outline the value of keeping a closer view on SSI workstations through their lifecycle
Possibility to automate part of the survey process in future SSI versions
98% of SSI workstations run an OS out of support
38% of SSI workstations run on 32bit OS

## Slide 12
12
SSI Large roll-out
Great opportunity to upgrade and homogenize SSI workstations and provide Station Operators with the latest features.
Installation is a lot of work
SSI: Installation script
OS, SSI & SSI Configuration: Kickstart file
Configuration requires expertise and manual testing
Configurations backed-up 2021-2022
Configurations upgradeable to latest SSI
Provide an SSI solution (including HW, OS & SSI configuration) that is ready for large scale roll-out in support to sustainability

## Slide 13
SSI Large roll-out
Expected outcomes
Increase in Data availability (better sparing, more resilient SSI)
Continued increase in ECDSA authentication
Improvement in number and quality of successful calibrations
Better tracking of SSI workstations through their lifecycle
Closer link with PTS (through API calls to the Configurator)

## Slide 14
14
Stealth computers testing (1/2)
  Testing scope
  Validate that the new computer models fulfil the desired functionality and performance.
  Verify that the integrated system meets the functional requirements.
  Ensure that all authentication tokens supported by SSI are fully compatible with the new computer.
  Identify any issue that may arise when integrating the Software into Hardware.
  Evaluate the compliance of the system with specified functional requirements.
LPC-960
LPC-965
LPC-845
LPC-870
LPC-915

## Slide 15
Stealth computers testing (2/2)
Average power consumption: 10.67 W for LPC-915

## Slide 16
Questions ?